## Sheet1
| 2022-06-02 | 2022-02-03 | 2022-03-03 | 2022-08-04 | 2022-01-06 | 2022-06-09 | 2022-02-10 | 2022-08-11 | 2022-05-12 | 2022-01-13 | 2022-07-14 | 2022-02-17 | 2022-05-19 | 2022-01-20 | 2022-04-21 | 2022-07-21 | 2022-02-24 | 2022-05-26 | 2022-01-27 | 2022-07-28 | 2022-03-31 | 2022-11-03 | 2022-11-10 | 2022-10-13 | 2022-09-15 | 2022-11-17 | 2022-09-22 | 2022-10-27 | 2022-09-29 | 2022-12-08 | 2022-12-15 | 2022-12-22 | 2022-12-29
Bibiana-II 341 MW CCPP (Summit) | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Synch. at 22:34 hr on 04.01.22 | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Under maintenance | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | SD at 22 Oct due to maintenance | SD at 22 Nov due to maintenance | Shut down on 22 Nov due to maintenance | Under Shut down for maintenance
Shahjibazar GTPP Unit 8 & 9 | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem, , GT-9 U/M | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem | Not running in FGMO due to IGV problem
Sirajgonj 400 MW CCPP Unit-4 | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to Turbine inspection | Running with fixed load due to gas shortage | Running in FGMO | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Not running in FGMO due to problem with turbine. | Running in FGMO | Running in FGMO | Not running in FGMO due to gas shortage. | Not running in FGMO due to problem with turbine. | Running in FGMO | Not running in FGMO due to problem with turbine | Running with fixed load due to gas shortage | Under shut down due to Turbine inspection | Not running in FGMO due to problem with turbine. | Not running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running in FGMO | Running in FGMO | Not running in FGMO due to problem with combustion system | Not running in FGMO due to problem with combustion system
Sirajgonj 225MW CCPP Unit-3 | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage. | Running in FGMO | Not running in FGMO due to GTCL work | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage.
Sirajgonj 225MW CCPP Unit-2 | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load (Fuel: HSD) | Under shut down due to gas shortage | Running with fixed load on HSD | Under shut down due to gas shortage | Running with fixed load (Fuel: HSD) | Under shut down due to gas shortage | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Running with minimum load as fuel is HSD | Under shut down due to gas shortage | Not running in FGMO as the plant is running on HSD | Running with fixed load | Running in FGMO | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load | Not running in FGMO due to running on HSD | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Running with fixed load (Fuel: HSD) | Running with fixed load (Fuel: HSD) | Under shut down due to fuel shortage. | Running with fixed load (Fuel: HSD) | Under shut down due to fuel shortage. | Running with fixed load (Fuel: HSD) | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Running on testing purpose after HGPI
Meghnaghat CCPP(Summit) | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Shut down due to gas shortage | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Shut down due to gas shortage | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | GT-2 running in FGMO & GT-1under shut down due to gas shortage | Shut down due to gas shortage | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Shut down due to gas shortage | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to problem with turning gear | GT-2 with STG running with Fixed load due Gas shortage . | Under shut down due to fuel shortage. | GT-2 with STG running with Fixed load due Gas shortage . | Running with fixed load due to gas shortage | GT-2 with STG running with Fixed load due Gas shortage . | Under shut down due to gas shortage | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage.
Ashuganj 450 MW CCPP(North) | Under shut down due to gas shortage | GT not running in FGMO due to restriction from Siemens . ST under maintenance due to CW Pump problem. | Running in FGMO | Running in FGMO | GT not running in FGMO due to gas shortage & ST under maintenance | Under shut down due to gas shortage | Running in FGMO | Running in FGMO | Not running in FGMO due to gas shortage. | GT not running in FGMO due to gas shortage & ST under maintenance | Running in FGMO | Running in FGMO | Not running in FGMO due to gas shortage. | GT not running in FGMO due to gas shortage & ST under maintenance | Running in FGMO | Running in FGMO | Running in FGMO | Not running in FGMO due to gas shortage. | GT not running in FGMO due to restriction from Siemens. ST under maintenance due to CW Pump problem. | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Under shut down due to minor inspection | Running in FGMO | Running in FGMO | Running with fixed load due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Under shut down due to gas shortage | Running in FGMO
Ashuganj 225 MW CCPP | Running with fixed load as Ghorashal 230/132 kv Tr. out of order. | Occasionally running in FGMO due to gas shortage. | Occasionally running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage. | Some times running in FGMO when Gas pressure & Tr. load at Ghorashal permits | Occasionally running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Occasionally running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under maintenance | Occasionally running in FGMO due to gas shortage. | Running with fixed load as APSCL 230/132 kv Tr. out of order. | Occasionally running in FGMO due to gas shortage. | Occasionally running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Occasionally running in FGMO due to gas shortage. | Running with fixed load as APSCL 230/132 kv Tr. out of order. | Occasionally running in FGMO due to gas shortage. | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Occasionally run in FGMO due to gas shortage | Running in FGMO | Running in FGMO | Running in FGMO
Bheramara 410 MW CCPP | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running in fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Running in fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running in fixed load due to gas shortage | Running with fixed load due to gas shortage | Running in fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Running in fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage
Haripur 412 MW CCPP | Under shut down due to problem with Gas Booster Compressor. | Under shut down due to gas shortage | Under shut down due to Major inspection | Running with fixed load due to Valve problem at RMS . | Under shut down due to gas shortage | Running with fixed load due to Valve prolem at RMS . | GT not running in FGMO due to problem with gas booster (ST under maint.). | Running with fixed load due to Valve problem at RMS . | Running in fixed load due to GBC and Auxiliary Valve problem. | Under shut down due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT not running in FGMO due to problem with gas booster (ST under maint.). | Under shut down due to problem with Gas Booster Compressor. | Under shut down due to gas shortage | Running in fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | Under shut down due to Major inspection | Under shut down due to problem with Gas Booster Compressor. | Under shut down due to gas shortage | Running with fixed load due to Valve problem at RMS . | Under shut down due to Major inspection | Running with fixed load due to Valve problem at RMS . | Under shut down due to gas pipe line maintenance by GTCL | Running with fixed load due to Valve problem at RMS . | Running with fixed load due to Valve problem at RMS . | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | Running with fixed load due to Valve problem at RMS . | Running with fixed load due to Valve problem at RMS . | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage
Fenchugonj CCPP Phase-1 | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Under shut down due to Gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | GT-2 running in FGMO & GT-1 under maint.( load gear problem)
Chandpur 150 MW CCPP | Not running in FGMO due to turbine vibration high | GT running with FGMO in combined mode . | Running in FGMO. | Running with fixed load due to STG Turbine high Vib. | Running in FGMO | Under shut down for maint . | Running in FGMO. | Running with fixed load due to STG Turbine high Vib. | Not running in FGMO due to turbine vibration high | Running in FGMO | Running with fixed load due to STG Turbine high Vib. | Running in FGMO. | Not running in FGMO due to turbine vibration high | Under maintenance | Under maintenance | Running with fixed load due to STG Turbine high Vib. | Running in FGMO. | Not running in FGMO due to turbine vibration high | GT running in FGMO. ST under shutdown due to valve problem. | Running with fixed load due to STG Turbine high Vib. | Under maintenance | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under Shut down due to GBC problem . | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Shut down due to minor inspection | Shut down due to minor inspection
Siddhirganj 2x120 MW GTPP | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down due to gas shortage | Under shut down due to gas shortage | Shut down due to gas shortage | Under shut down due to gas shortage | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down due to gas shortage | Shut down due to gas shortage | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down due to gas shortage | GT1 shut down due to gas shortage and GT2 under maintenance | Shut down due to gas shortage | Under shut down due to gas shortage | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down due to gas shortage | Shut down due to gas shortage | Only GT1 running in fixed load due to gas shortage and GT2 under maintenance | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage | Both GTs are under shutdown due to gas shortage
Shikalbaha 225 MW CCPP | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Running in FGMO | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Running in FGMO | Under shut down for hot gas path inspection. | Running in FGMO | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Under shut down for hot gas path inspection. | Under shut down for Hot Gas Path Inspection | Running in FGMO | Running with fixed load due to gas booster pboblem | Running with fixed load due to gas booster problem | Running with fixed load due to gas booster pboblem | Under shut down for Hot Gas Path Inspection | Running with fixed load due to gas booster problem | Running in test mode | Running with fixed load due to gas booster pboblem | Running in test mode | Running with fixed load due to gas booster problem | Running with fixed load due to gas booster problem | Running with fixed load due to gas booster problem | Running with fixed load due to gas booster problem
Shikalbaha Peaking GT | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance. | Under shut down for turbine shaft maintenance.
Shahjibazar 330 MW CCPP | Under shut down | GT-1 not running in FGMO due to boiler problem. GT-2 Under shut down due to yearly scheduled maintenace | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 in simple mode | Under shut down | Under shut down due to yearly scheduled maintenace | Under shut down | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 Under shut down due to gas shortage | Under shut down | Running with fixed load due to problem with Auxiliary Valve Control system. | Under shut down due to yearly scheduled maintenace | Under shut down | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to yearly scheduled maintenace | GT-1 & STG in fixed load due to boiler problem & GT-2 under S/D for Gas shortage | Under shut down | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 in simple mode | Not running in FGMO due to problem with ST | GT-1 not running in FGMO due to boiler problem. GT-2 Under shut down due to yearly scheduled maintenace | Under shut down | Not running in FGMO due to boiler problem. | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down | Under shut down
Ashuganj 450 MW CCPP(South) | Not running in FGMO due to gas shortage. | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Some times running in FGMO when Gas pressure permits | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Running in FGMO | Running in FGMO | Running in FGMO | Under shut down due to MI | After minor Inspection, synch. on 07.11.22 | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Running in FGMO | Running in FGMO | Under shut down for gas shortage .
Fenchugonj CCPP Phase-2 | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem.
Bhola 225 MW CCPP | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 & ST running with fixed load , GT-2 under S/D due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | GT-1 running with full load & GT-2 under shut down due to gas shortage | GT-1 & ST running with fixed load , GT-2 under S/D due to gas shortage | GT-1 & ST running with fixed load & GT-2 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 in Fixed load due to feed water control valve of HRSG problem . GT-2 under S/D due to gas shortage | GT-1 running with full load & GT-2 under shut down due to gas shortage | GT-1 & ST running with fixed load & GT-2 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 in Fixed load due to feed water control valve of HRSG problem . GT-2 under S/D due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | GT-1 running in Fixed load , STG under maint . GT-2 under S/D due to gas shortage | GT-2 running with full load & GT-1 under shut down due to gas shortage | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage
Ghorasal 365 MW CCPP Unit-7 | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to boiler drum level control valve problem | Under shutdown for air compressor maintenance | Under shutdown for air compressor maintenance | Under shutdown for air compressor maintenance | Not running in FGMO due to boiler drum level control valve problem | Under shutdown for air compressor maintenance | Under shutdown for air compressor maintenance | Under shutdown for air compressor maintenance | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Under shut down fo maint | GT running with fixed load due to gas shortage | GT running with fixed load due to gas shortage
Sirajgonj 225MW CCPP Unit-1 | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage | Under shut down due to gas shortage | Not running in FGMO due to GBC problem. | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Not running in FGMO due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Not running in FGMO due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage
Siddhirganj 335 MW CCPP | Not running in FGMO | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to Gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO | Under shut down due to gas shortage | Not running in FGMO | Under shut down due to gas shortage | Not running in FGMO | Under shut down due to gas shortage | Shut down due to gas shortage | Under shut down due to Gas shortage | Under shut down due to gas shortage | Not running in FGMO | Under shut down due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load. | Under shut down due to gas shortage | Under shutdown due to gas shortage | Under shut down due to gas shortage | Under shutdown due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage
Bibiyana-III 400 MW CCPP | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Under shut down for overhauling | Not running in FGMO due to boiler drum level problem | Not running in FGMO due to boiler drum level problem | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load. | Running with fixed load.
Sylhet 225 MW CCPP | Not running in FGMO as plant running in combined mode (ST not capable) | Not running in FGMO as this plant running on combined cycle (ST not capable). | Under shut down due to air filter change | Running with fixed load as ST not capable to run in FGMO | Not running in FGMO as this plant running on combined cycle (ST not capable). | Under shut down for maint . | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load as ST not capable to run in FGMO | Not running in FGMO as plant running in combined mode (ST not capable) | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to gas shortage. | Not running in FGMO as this plant running on combined cycle (ST not capable). | Not running in FGMO as plant running in combined mode (ST not capable) | Not running in FGMO as this plant running on combined cycle (ST not capable). | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to gas shortage. | Under shut down due to air filter change | Not running in FGMO as plant running in combined mode (ST not capable) | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to gas shortage. | Not running in FGMO due to plant running in combined mode. | Running with fixed load | Running with fixed load ( ST not capable to run in FGMO) | Running with fixed load | Running with fixed load as ST not capable to run in FGMO | Running with fixed load ( ST not capable to run in FGMO) | Running with fixed load as ST not capable to run in FGMO | Running with fixed load | Running with fixed load as ST not capable to run in FGMO | Under shut down due to filter change work. | Running with fixed load due to gas shortage | Running with fixed load (ST not capable to run in (FGMO) | Running with fixed load (ST not capable to run in (FGMO)
RPCL 210 MW CCPP | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to local generation shortage & gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage
Khulna 225 MW CCPP | Under shut down due low demand | Under shutdown for Low system Demand (Fuel HSD) | Under shutdown for low system Demand (Fuel HSD) | Under shut down due to fuel problem . | Under shutdown for Low system Demand (Fuel HSD) | GT running with fixed load on HSD | Under shutdown for low system Demand (Fuel HSD) | Under shut down due to fuel problem . | Not running in FGMO as the plant is running on HSD | Under shutdown for Low system Demand (Fuel HSD) | Running with fixed load on HSD | Under shutdown for low system Demand (Fuel HSD) | Under shut down due low demand | Under shutdown for Low system Demand (Fuel HSD) | Not running in FGMO as the plant is running on HSD | Under shut down due to fuel problem . | Under shutdown for low system Demand (Fuel HSD) | Under shut down due low demand | Under shutdown for Low system Demand (Fuel HSD) | Under shut down due to fuel problem . | Not running in FGMO due to running on HSD | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Running in fixed load(Fuel:HSD) | Running in fixed load(Fuel:HSD) | Under shut down due to fuel shortage. | Running in fixed load(Fuel:HSD) | Under shut down due to fuel shortage. | Running in fixed load(Fuel:HSD) | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage.
a) Baghabari 71 MW GTPP | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage
b) Baghabari 100 MW GTPP | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage
Karnaphuli Hydro PP Unit: 1 | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhaulimg Contract has been signed. FGMO will be available by Apr-22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhaulimg Contract has been signed. FGMO will be available by Mar-22 (Delayed due to COVID-19 Pandemic) | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on | Overhauling going on
Karnaphuli Hydro PP Unit: 2 | FGMO available but under shut down due to low water level | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | FGMO available but under shut down due to low water level | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO available but under shut down due to low water level | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but under shut down due to low water level | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but under shut down due to low water level | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with fixed load | FGMO available but running with fixed load | FGMO available but running with fixed load
Karnaphuli Hydro PP Unit: 3 | FGMO available but under shut down due to low water level | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | FGMO available but under shut down due to low water level | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO available but under shut down due to low water level | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but under shut down due to low water level | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but under shut down due to low water level | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | FGMO available but running with full load due to water level high | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | FGMO available but running with fixed load | FGMO available but running with fixed load | Shut down due to low water level | Shut down due to low water level
Karnaphuli Hydro PP Unit: 4 | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited)
Karnaphuli Hydro PP Unit: 5 | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited)
a) Ghorasal Repowered CCPP Unit-3 | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor Maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work . | Under compressor maint. FGMO will be available after maint work .
b) Ghorasal Repowered CCPP Unit-4 | Under shut down due to problem with chimney | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO under testing | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Under shut down due to problem with chimney | FGMO under testing (Delayed due to COVID-19 Pandemic) | Under maintenance | Under shut down | Running with Fixed load . | Running with Fixed load . | Under shut down | Running with Fixed load . | Under maintenance | Running with Fixed load . | Under shut down | Under shut down | Under shut down | Under shut down
Bibiyana South 400 MW CCPP | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Under shut down as minor inspection going on | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Under shut down as minor inspection going on | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | Running with fixed load due problem with steam control valve | Not running in FGMO due to hunting problem | GT sync at 1224 and ST not sync yet due to gas shortage | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve | Running with fixed load due problem with steam control valve
Barapukuria 275 MW TPP Unit-3 | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified | Design needs to be modified
Shajibazar 100 MW PP | Under maintenance ( main compressor problem) | Plant has been running on test | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Machine has been running on test | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Machine has been running on test | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Machine has been running on test | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Plant has been running on test | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem) | Under maintenance ( main compressor problem)
Payra 1320 MW Unit-1 | Running with Fixed load |  |  | Running with Fixed load |  | Running with Fixed load |  | Running with Fixed load | Running with Fixed load |  | Running with Fixed load |  | Running with Fixed load |  | Running with Fixed load | Running with Fixed load |  | Running with Fixed load |  | Running with Fixed load |  | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with Fixed load | Running with fixed load due to line overload. | Running with fixed load due to line overload. | Running with fixed load due to line overload. | Running with fixed load due to line overload.
Kushiara 163 MW CCPP (KP) | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System need to be fine tunned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System need to be fine tunned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System need to be fine tunned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Control System needs to be fine tuned. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | running with Fixed load as Control System needs to be fine tuned. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Under Shut down due to gas shortage
Haripur 360MW CCPP(HPL) | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected
Meghnaghat 450 MW CCPP(MPL) | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA need to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected | PPA needs to be corrected
Payra 1320 MW Unit-2 |  | Running with low demand due to Bhola Nutan Biddut running. | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running. |  |  | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running. |  |  | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running. |  | Running with low demand due to Bhola Nutan Biddut running.

## Sheet2
| Bibiana-II 341 MW CCPP (Summit) | Shahjibazar GTPP Unit 8 & 9 | Sirajgonj 400 MW CCPP Unit-4 | Sirajgonj 225MW CCPP Unit-3 | Sirajgonj 225MW CCPP Unit-2 | Meghnaghat CCPP(Summit) | Ashuganj 450 MW CCPP(North) | Ashuganj 225 MW CCPP | Bheramara 410 MW CCPP | Haripur 412 MW CCPP | Fenchugonj CCPP Phase-1 | Chandpur 150 MW CCPP | Siddhirganj 2x120 MW GTPP | Shikalbaha 225 MW CCPP | Shikalbaha Peaking GT | Shahjibazar 330 MW CCPP | Ashuganj 450 MW CCPP(South) | Fenchugonj CCPP Phase-2 | Bhola 225 MW CCPP | Ghorasal 365 MW CCPP Unit-7 | Sirajgonj 225MW CCPP Unit-1 | Siddhirganj 335 MW CCPP | Bibiyana-III 400 MW CCPP | Sylhet 225 MW CCPP | RPCL 210 MW CCPP | Khulna 225 MW CCPP | a) Baghabari 71 MW GTPP | b) Baghabari 100 MW GTPP | Karnaphuli Hydro PP Unit: 1 | Karnaphuli Hydro PP Unit: 2 | Karnaphuli Hydro PP Unit: 3 | Karnaphuli Hydro PP Unit: 4 | Karnaphuli Hydro PP Unit: 5 | a) Ghorasal Repowered CCPP Unit-3 | b) Ghorasal Repowered CCPP Unit-4 | Bibiyana South 400 MW CCPP | Barapukuria 275 MW TPP Unit-3 | Shajibazar 100 MW PP | Payra 1320 MW Unit-1 | Kushiara 163 MW CCPP (KP) | Haripur 360MW CCPP(HPL) | Meghnaghat 450 MW CCPP(MPL) | Payra 1320 MW Unit-2
2022-01-06 | Synch. at 22:34 hr on 04.01.22 | Not running in FGMO due to IGV problem | Running in FGMO | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT not running in FGMO due to gas shortage & ST under maintenance | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | Under shut down due to yearly scheduled maintenace | Running in FGMO | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for Low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Machine has been running on test |  | Control System need to be fine tunned. | PPA need to be corrected | PPA need to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-01-13 | Running in FGMO | Not running in FGMO due to IGV problem | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Under shut down due to gas shortage | GT not running in FGMO due to gas shortage & ST under maintenance | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | Under shut down due to yearly scheduled maintenace | Not running in FGMO due to gas shortage. | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for Low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Machine has been running on test |  | Control System need to be fine tunned. | PPA need to be corrected | PPA need to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-01-20 | Running in FGMO | Not running in FGMO due to IGV problem | Running in FGMO | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT not running in FGMO due to gas shortage & ST under maintenance | Occasionally running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Under maintenance | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | Under shut down due to yearly scheduled maintenace | Running in FGMO | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for Low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Designed need to be modified, ( Delayed due to COVID-19 Pandemic) | Machine has been running on test |  | Control System need to be fine tunned. | PPA need to be corrected | PPA need to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-01-27 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT not running in FGMO due to restriction from Siemens. ST under maintenance due to CW Pump problem. | Occasionally running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT running in FGMO. ST under shutdown due to valve problem. | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-1 not running in FGMO due to boiler problem. GT-2 Under shut down due to yearly scheduled maintenace | Running in FGMO | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for Low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | Overhauling Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic) | Contract has been signed. FGMO will be available by Jan-22 (Delayed due to COVID-19 Pandemic). | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | FGMO will be available by Jan-22,( Delayed due to COVID-19 Pandemic) | FGMO will be available by Jan-22, ( Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Plant has been running on test |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-02-03 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT not running in FGMO due to restriction from Siemens . ST under maintenance due to CW Pump problem. | Occasionally running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | GT running with FGMO in combined mode . | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-1 not running in FGMO due to boiler problem. GT-2 Under shut down due to yearly scheduled maintenace | Running in FGMO | GT-3 under shut down for CI & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for Low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Plant has been running on test |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-02-10 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Under shut down due to gas shortage | GT not running in FGMO due to problem with gas booster (ST under maint.). | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO. | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 Under shut down due to gas shortage | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running with full load & GT-2 under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-02-17 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Under shut down due to gas shortage | GT not running in FGMO due to problem with gas booster (ST under maint.). | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO. | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 Under shut down due to gas shortage | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running with full load & GT-2 under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Not running in FGMO as this plant running on combined cycle (ST not capable). | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-02-24 | Running in FGMO | Not running in FGMO due to IGV problem | Under shut down due to Turbine inspection | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Running in fixed load due to gas shortage | Under shut down due to Major inspection | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO. | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 in simple mode | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Under shut down due to air filter change | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-03-03 | Running in FGMO | Not running in FGMO due to IGV problem | Under shut down due to Turbine inspection | Not running in FGMO due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Running in fixed load due to gas shortage | Under shut down due to Major inspection | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Running in FGMO. | Under shut down due to gas shortage | Under shut down for hot gas path inspection. | Under shut down for turbine shaft maintenance. | GT-2 (combined with ST) not running in FGMO due to boiler problem. GT-1 in simple mode | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Under shut down due to gas shortage | Under shut down for overhauling | Under shut down due to air filter change | Running with fixed load due to local generation shortage & gas shortage | Under shutdown for low system Demand (Fuel HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Feb--22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Running with fixed load due problem with steam control valve | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-03-31 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage | Not running in FGMO due to gas shortage | Not running in FGMO due to running on HSD | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Running in fixed load due to gas shortage | Under shut down due to Major inspection | GT-2 only running in FGMO & GT-1 under shut down due to load gear problem | Under maintenance | Only GT1 running in fixed load due to gas shortage and GT2 under maintenance | Running in FGMO | Under shut down for turbine shaft maintenance. | Not running in FGMO due to boiler problem. | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Not running in FGMO due to plant running in combined mode. | Running with fixed load due to local system generation shortage & gas shortage | Not running in FGMO due to running on HSD | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Mar-22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | GT sync at 1224 and ST not sync yet due to gas shortage | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) |  | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected | Running with low demand due to Bhola Nutan Biddut running.
2022-04-21 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with turbine | Under shut down due to gas shortage | Not running in FGMO as the plant is running on HSD | GT-2 running in FGMO & GT-1under shut down due to gas shortage | Running in FGMO | Occasionally running in FGMO due to gas shortage. | Running in fixed load due to gas shortage | Running in fixed load due to gas shortage | Under shut down due to Gas shortage | Under maintenance | GT1 shut down due to gas shortage and GT2 under maintenance | Running in FGMO | Under shut down for turbine shaft maintenance. | GT-1 & STG in fixed load due to boiler problem & GT-2 under S/D for Gas shortage | Under shut down due to gas shortage | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-2 running with full load & GT-1 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage | Shut down due to gas shortage | Not running in FGMO due to boiler drum level problem | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to local system generation shortage & gas shortage | Not running in FGMO as the plant is running on HSD | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhaulimg Contract has been signed. FGMO will be available by Apr-22 (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | FGMO under testing (Delayed due to COVID-19 Pandemic) | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint.( Delayed due to COVID-19 Pandemic), FGMO wiil be available after maint work . | FGMO under testing (Delayed due to COVID-19 Pandemic) | Not running in FGMO due to hunting problem | Design needs to be modified, ( Delayed due to COVID-19 Pandemic) | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-05-12 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with turbine. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Not running in FGMO due to gas shortage. | Occasionally running in FGMO due to gas shortage. | Running in fixed load due to gas shortage | Running in fixed load due to GBC and Auxiliary Valve problem. | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Not running in FGMO due to turbine vibration high | GT1 shut down due to gas shortage and GT2 under maintenance | Running in FGMO | Under shut down for turbine shaft maintenance. | Running with fixed load due to problem with Auxiliary Valve Control system. | Under shut down due to gas shortage | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 & ST running with fixed load & GT-2 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to gas shortage | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to local system generation shortage & gas shortage | Not running in FGMO as the plant is running on HSD | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but under shut down due to low water level | FGMO available but under shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | FGMO under testing | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-05-19 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with turbine. | Not running in FGMO due to gas shortage. | Running with minimum load as fuel is HSD | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Not running in FGMO due to gas shortage. | Running with fixed load as APSCL 230/132 kv Tr. out of order. | Running with fixed load due to gas shortage | Under shut down due to problem with Gas Booster Compressor. | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Not running in FGMO due to turbine vibration high | GT1 shut down due to gas shortage and GT2 under maintenance | Running in FGMO | Under shut down for turbine shaft maintenance. | Under shut down due to gas shortage | Under shut down due to gas shortage | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 & ST running with fixed load & GT-2 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to local system generation shortage & gas shortage | Under shut down due low demand | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but under shut down due to low water level | FGMO available but under shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-05-26 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with turbine. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Not running in FGMO due to gas shortage. | Running with fixed load as APSCL 230/132 kv Tr. out of order. | Running with fixed load due to gas shortage | Under shut down due to problem with Gas Booster Compressor. | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Not running in FGMO due to turbine vibration high | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Not running in FGMO due to problem with ST | Under shut down due to gas shortage | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to local system generation shortage & gas shortage | Under shut down due low demand | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but under shut down due to low water level | FGMO available but under shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-06-02 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Running with fixed load as Ghorashal 230/132 kv Tr. out of order. | Running with fixed load due to gas shortage | Under shut down due to problem with Gas Booster Compressor. | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Not running in FGMO due to turbine vibration high | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Not running in FGMO due to gas shortage. | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Under shut down due to gas shortage | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Not running in FGMO as plant running in combined mode (ST not capable) | Running with fixed load due to local system generation shortage & gas shortage | Under shut down due low demand | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but under shut down due to low water level | FGMO available but under shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-06-09 | Running in FGMO | Not running in FGMO due to IGV problem | Not running in FGMO due to gas shortage. | Under shut down due to gas shortage | Running with fixed load on HSD | GT1 and ST Running in FGMO. GT2 under shut down due to gas shortage. | Under shut down due to gas shortage | Some times running in FGMO when Gas pressure & Tr. load at Ghorashal permits | Running with fixed load due to gas shortage | Running with fixed load due to Valve prolem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Under shut down for maint . | GT1 shut down due to gas shortage and GT2 under maintenance | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Some times running in FGMO when Gas pressure permits | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running in FGMO & GT-2 under shut down due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Not running in FGMO due to boiler drum level problem | Under shut down for maint . | Running with fixed load due to local system generation shortage & gas shortage | GT running with fixed load on HSD | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but under shut down due to low water level | FGMO available but under shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-07-14 | Under maintenance | Not running in FGMO due to IGV problem | Running in FGMO | Not running in FGMO due to GTCL work | Running in FGMO | Shut down due to gas shortage | Running in FGMO | Under maintenance | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to STG Turbine high Vib. | Running in FGMO | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 in Fixed load due to feed water control valve of HRSG problem . GT-2 under S/D due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Not running in FGMO due to GBC problem. | Not running in FGMO | Not running in FGMO due to boiler drum level problem | Running with fixed load due to gas shortage. | Running with fixed load due to local system generation shortage & gas shortage | Running with fixed load on HSD | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-07-21 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load | Shut down due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to STG Turbine high Vib. | Shut down due to gas shortage | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 in Fixed load due to feed water control valve of HRSG problem . GT-2 under S/D due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO due to boiler drum level problem | Running with fixed load due to gas shortage. | Running with fixed load due to gas shortage | Under shut down due to fuel problem . | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-07-28 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load | Shut down due to gas shortage | Running in FGMO | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to STG Turbine high Vib. | Shut down due to gas shortage | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 running in Fixed load , STG under maint . GT-2 under S/D due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO due to boiler drum level problem | Running with fixed load due to gas shortage. | Running with fixed load due to gas shortage | Under shut down due to fuel problem . | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Not running in FGMO due to hunting problem | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-08-04 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | Shut down due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to STG Turbine high Vib. | Shut down due to gas shortage | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 & ST running with fixed load , GT-2 under S/D due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO due to boiler drum level problem | Running with fixed load as ST not capable to run in FGMO | Running with fixed load due to gas shortage | Under shut down due to fuel problem . | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Under shut down as minor inspection going on | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-08-11 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | Shut down due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to STG Turbine high Vib. | Shut down due to gas shortage | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | GT-1 & ST running with fixed load , GT-2 under S/D due to gas shortage | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Under shut down due to Gas shortage | Not running in FGMO due to boiler drum level problem | Running with fixed load as ST not capable to run in FGMO | Running with fixed load due to gas shortage | Under shut down due to fuel problem . | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under shut down due to problem with chimney | Under shut down as minor inspection going on | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-09-15 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | GT-2 with STG running with Fixed load due Gas shortage . | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Under Shut down due to GBC problem . | Both GTs are under shutdown due to gas shortage | Under shut down for Hot Gas Path Inspection | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Not running in FGMO due to boiler drum level control valve problem | Running with fixed load due to gas shortage | Running with fixed load. | Running with fixed load. | Running with fixed load as ST not capable to run in FGMO | Running with fixed load due to gas shortage | Running in fixed load(Fuel:HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Running with Fixed load . | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | running with Fixed load as Control System needs to be fine tuned. | PPA needs to be corrected | PPA needs to be corrected
2022-09-22 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | GT-2 with STG running with Fixed load due Gas shortage . | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running in test mode | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Under shutdown due to gas shortage | Running with fixed load. | Running with fixed load as ST not capable to run in FGMO | Running with fixed load due to gas shortage | Running in fixed load(Fuel:HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Running with Fixed load . | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-09-29 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | GT-2 with STG running with Fixed load due Gas shortage . | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running in test mode | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Under shutdown due to gas shortage | Running with fixed load. | Running with fixed load as ST not capable to run in FGMO | Running with fixed load due to gas shortage | Running in fixed load(Fuel:HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Running with Fixed load . | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-10-13 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load (Fuel: HSD) | Under shut down due to problem with turning gear | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster pboblem | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Running with fixed load. | Running with fixed load. | Running with fixed load | Running with fixed load due to gas shortage | Running in fixed load(Fuel:HSD) | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Running with Fixed load . | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-10-27 | Running in FGMO | Not running in FGMO due to IGV problem, , GT-9 U/M | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Running with fixed load due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster pboblem | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under maintenance | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-11-03 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Running with fixed load due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to Valve problem at RMS . | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster pboblem | Under shut down for turbine shaft maintenance. | Under shut down | Under shut down due to MI | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with full load due to water level high | FGMO available but running with full load due to water level high | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor Maint. FGMO will be available after maint work . | Under maintenance | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-11-10 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Running with fixed load due to gas shortage | Running in FGMO | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas pipe line maintenance by GTCL | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | After minor Inspection, synch. on 07.11.22 | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load ( ST not capable to run in FGMO) | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | FGMO available but running with fixed load | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-11-17 | Running in FGMO | Not running in FGMO due to IGV problem | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to minor inspection | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load | Under shutdown for air compressor maintenance | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load ( ST not capable to run in FGMO) | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | FGMO available but running with fixed load | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with Fixed load | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-12-08 | SD at 22 Oct due to maintenance | Not running in FGMO due to IGV problem | Running in FGMO | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to gas shortage | Running in FGMO | Occasionally run in FGMO due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | Under shut down due to gas shortage | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Under shut down due to filter change work. | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | FGMO available but running with fixed load | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with fixed load due to line overload. | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-12-15 | SD at 22 Nov due to maintenance | Not running in FGMO due to IGV problem | Running in FGMO | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Running with fixed load due to gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Running with fixed load due to gas shortage | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load due to gas shortage | Under shut down fo maint | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | FGMO available but running with fixed load | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with fixed load due to line overload. | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-12-22 | Shut down on 22 Nov due to maintenance | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with combustion system | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to fuel shortage. | Under shut down due to gas shortage | Running in FGMO | Under shut down due to gas shortage | Running with fixed load due to gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Shut down due to minor inspection | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | Running in FGMO | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load due to gas shortage | GT running with fixed load due to gas shortage | Running with fixed load due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load (ST not capable to run in (FGMO) | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | Shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with fixed load due to line overload. | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected
2022-12-29 | Under Shut down for maintenance | Not running in FGMO due to IGV problem | Not running in FGMO due to problem with combustion system | Under shut down due to fuel shortage. | Running on testing purpose after HGPI | Under shut down due to fuel shortage. | Running in FGMO | Running in FGMO | Under shut down due to gas shortage | Running with fixed load due to gas shortage | GT-2 running in FGMO & GT-1 under maint.( load gear problem) | Shut down due to minor inspection | Both GTs are under shutdown due to gas shortage | Running with fixed load due to gas booster problem | Under shut down for turbine shaft maintenance. | Under shut down | Under shut down for gas shortage . | GT-3 running in FGMO & GT-4 under shut down due to load gear problem. | Running with fixed load due to gas shortage | GT running with fixed load due to gas shortage | Under shut down due to gas shortage | Under shut down due to gas shortage | Running with fixed load. | Running with fixed load (ST not capable to run in (FGMO) | Running with fixed load due to gas shortage | Under shut down due to fuel shortage. | Under Shut down due to gas shortage | Under Shut down due to gas shortage | Overhauling going on | FGMO available but running with fixed load | Shut down due to low water level | Genarator problem(Tender Invited) | Genarator problem(Tender Invited) | Under compressor maint. FGMO will be available after maint work . | Under shut down | Running with fixed load due problem with steam control valve | Design needs to be modified | Under maintenance ( main compressor problem) | Running with fixed load due to line overload. | Under Shut down due to gas shortage | PPA needs to be corrected | PPA needs to be corrected